## Revst._Kacharir_Khal_(A)
Revised Abstract of Cost Estimate for Construction of Kacharir Khal Sluice (2V-1.5mX1.8m) at Ch. Km=151.000 of Polder No- 56/57 of Charfession Upazila in Bhola District.
Item No/ Code No | Description of Item | Qunatity | Unit | Rate (Tk.) | Amount (Tk.)
1 | 2 | 3 | 4 | 5 | 6
01. 04-180 | Site preparation by manually removing all miscellaneous objectionable materials from entire site and removing soil up to 15cm depth including uprooting stumps, jungle clearing, leveling dressing etc. complete as per direction of Engineer in charge. | 6000 | sqm | 33.331 | 199986
02. 64-100 | Lay-out of building works as per approved plan with 50mmx 50mmx300mm wooden pegs, nails, nylon ropes, checking the dimensions, marking the excavation edges with chalk powder and maintaining the centre line pegs till completion of foundation works up to a safe level etc. complete including the cost of all materials as per direction of Engineer in charge. | 2250 | sqm | 38.091 | 85704.75
03. 04-120 | Construction of B.M. Pillars at site with first class bricks in cement mortar (1:4) of size 38cmx38cmx75cm on cement concrete (1:2:4) base of size 50cmx50cmx7.5cm with 12mm thick cement plastering (1:2) on exposed surfaces of pillar and cement mortar on top (1:2), with inscription of "BWDB" with 25cm of the pillar below ground level etc. complete including ramming the backfill and the cost of all materials as per direction of Engineer in charge. | 8 | Each | 333.335 | 2666.68
04. 04-700 | Erection and maintenance of site office and removal of the same after completion of work as per approved plans & drawings for the use of the Engineer-in-charge & his staff, Task force and field laboratory with adequate foundation, brick walls, acceptable outside & inside wall surface, concrete floor with floor tiles, false ceiling of gypsum board, windows are to be glazed & provided with steel grill & screen/blinds, doors with approved locks, furniture & fittings of approved quality, equipment & plant of approved quality, electricity, running water, sewerage, security fencing, 5 KVA stand-bye generator, IBM compatible PC with monitor, uninterruptible power supply (UPS), LaserJet printer (minimum 25 ppm), first aid-box, safety helmet, level/theodolite/EDM, consumables, stationeries, day & night guards & a tea boy and site office shall be ready for occupation by the Engineer-in-charge within 28 days of commencement of work, etc. complete as per direction of Engineer-in-charge.(This is a time related item; proportionate payment for this item shall be made distributing in each bill on the basis of percentage progress of the whole works under contract)
04-700-10 | Site office of minimum 38 sqm plinth area | 1 | Each | 500000.001 | 500000.001
05. 12-310 | Bailing out of water with all leads and lifts by manual labour or pump, with all arrangements for protection of ring bund and side slopes of foundation pit against erosion or washout etc. complete as per Direction of E/C.
12-310-20 | By Pump. | 68799.55 | cum | 7.461 | 513313.443
06. 16-450 | Earth work by manual labour with clayey soil (minimum 30% clay, 0-40% silt and 0-30% sand) in construction of cross bundh/ring bundh as per design and specification with all leads and lifts, throwing the earth in layers not exceeding 150mm in thickness, including breaking clods, rough dressing, clearing the jungle, removing stumps, dug bailing and 75mm cambering etc. complete as per direction of Engineer in charge. | 7210.32 | cum | 200.001 | 1442071.21
07. 16-500 | Earth work in excavation of foundation trenches in all kinds of soils including levelling, dressing, placing, removal of spoils to a safe distance with initial lead of 30m and lift of 1.5m as per direction of Engineer in charge. | 13448.42 | cum | 200.001 | 2689697.448
08. 28-120 | Cement concrete work in leanest mix. 1:3:6 with sand of FM>=1.5, in foundation or floor including breaking, screening, grading and washing aggregates with clear water, mixing, laying in position consolidation to levels, curing, inclusing supply of all materials excluding the cost of formworks etc. complete as per direction of Engineer in charge.
28-120-20 | With 25mm downgraded stone chips. | 68.49 | cum | 12000.001 | 821880.068
09. 76-120 | M.S. Work for reinforcement with deformed M.S. bar, fy=400 N/mm², (made from billet) in RCC works, including local handling, cutting, forging, bending, cleaning and fabrication with supply of deformed M.S. bar in different sizes and binding with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge.
76-120-10 | 8mm to 30mm dia. | 93024.74 | kg | 103.001 | 9581641.245
10. 76-115 | M.S Work for reinforcement with Standard deformed bar fy=300 N/mm^2 in RCC works including local handling, cutting, forging,bending,cleaning and fabrication with supply of deformed M.S. bar in different sizes and bending with 22 to 18 gages G.I. wire etc. complete including the cost of all materials as per direction of Engineer in charge. | 381.78 | kg | 83.001 | 31688.122
11. 28-230 | Reinforced Cement Concrete work in leanest mix. 1:1.5:3, with 20mm downgraded coarse aggregates and sand of FM>=2.5, to attain a minimum 28 day cylinder strength of 25.0 N/mm², including breaking, screening, grading and washing aggregates with clear water, mixing, laying in forms, consolidation to levels, curing, including supply of all materials, excluding cost of M.S. work for reinforcements and formworks etc. complete and as per direction of Engineer in charge.
28-230-10 | With stone chips. | 827.56 | cum | 15464.101 | 12797471.424
12. 36-100 | Form work for centering and water tight shuttering as per drawing with minimum 25mm thick wooden plank and batten (minimum size 75mmx50mm), struts and props including covering the surface with 28 BWG plain GI sheet, fitting, fixing by nails, tie rods and nuts & bolts to desired level and shape and removing the forms etc. after specified period including the cost of all materials as per direction of Engineer in charge.
36-100-60 | Footing, footing beams, grade beams, foundation slab with 60-80mm dia barrack bamboo props. | 338.68 | sqm | 998.501 | 338172.319
36-100-10 | Vertical & including walls, columns, piers with 60-80mm dia barrack bamboo props | 6312.58 | sqm | 1094.101 | 6906600.091
36-100-20 | Deck slab, operation deck slab, top slab of barrel upto 3.50m height with 60-80mm dia barrack bamboo props | 119.1 | sqm | 937.401 | 111644.459
36-100-30 | Deck slab, operation deck slab, top slab of barrel above 3.50m upto 6.50m height with 50mm dia GI pipe props. | 25.71 | sqm | 1347.181 | 34636.024
13. 76-630 | Supply of fitting and fixing 23cm. wide PVC water stop having minimum strength of 13.80 n/mm2 at 225% elongation and of approved quality in cntraction and expansion Joints with necessary arrangements for modification in shuttering and kepping the water stop in position etc. complete as per design specification and direction of E/C.
76-630-10 | 3 bulb type | 7.52 | sqm | 1174.191 | 8829.916
14. 44-220 | Supplying and laying single layer polythene sheet in floor below cement concrete, RCC slab, on walls etc. complete in all respect as per direction of Engineer in charge.
44-220-10 | Weighing 1.00 kg per 6.50 sqm. | 521.86 | sqm | 31.821 | 16606.107
15. 76-780 | Supplying & fitting, fixing dowel bar in expension each joints of hydraulic stracture with 32mm dia M.S plain bar 2000mm long , hooked in one end and painted at the other end for a length of 900mm with 40mm dia 100mm long G.I/M.S pipe closed at one end and filled with 30mm thick compressible filleer including plaching in position, binding with G.I wire etc. complete as per direction of E/C. | 28 | Each | 2868.841 | 80327.548
16. 80-230 | Supplying, laying, fitting and fixing of different dia G.I. pipes with all special fittings, such as bends, elbows, sockets, tees, unions, jamnuts etc. including cutting foundation trenches upto required depth where necessary and filling the same with earth duly compacted, making holes in floors and walls and mending the damages, fixing in walls with holders and clips, including cutting threads, making necessary connection etc. all complete, and as per direction of Engineer in charge.
80-230-40 | 40mm dia G.I. pipe line. | 30.5 | m | 356.081 | 10860.471
17. 40-230 | Manufacturing and supplying C.C. blocks in leanest mix. 1:2:4 with cement, sand (FM>=2.0) and Stone Chips (40mm downgraded) to attain a 28 days cylinder strength of 18 N/mm² including grading, washing stone chips, mixing, laying in forms, consolidation, curing for at least 21 days, including preparation of platform, shuttering and stacking in measurable stacks etc. complete including supply of all materials (steel shutter to be used) as per direction of Engineer in charge.
40-230-30 | Block Size= 45cm x 45cm x 30cm | 7073 | Each | 940.531 | 6652375.763
40-230-45 | Block Size= 35cm x 35cm x 35cm. | 1582 | Each | 660.131 | 1044327.242
40-230-25 | Block Size = 45cm x 45cm x 45cm. | 3222 | Each | 1460.011 | 4704155.442
40-230-10 | Block Size = 60cm x 60cm x 60cm. | 0 | Each | 3252.391 | 0
18. 40-520 | Supplying and laying dry 1st class or pick jhama chips as filter in two layers (top and bottom) as per specific size, range and gradation, including breaking chips, grading, preparation of surface, compacting each layer etc. complete with supply of all materials and as per direction of Engineer in charge.
40-520-20 | Well graded between 40mm to 20mm size. | 119.19 | cum | 4564.591 | 544053.601
40-520-30 | Well graded between 20 mm to 5 mm size. | 119.19 | cum | 5028.491 | 599345.842
19. 40-500 | Supplying and placing non-woven needle punched type geotextile filter materials elongation at maximum force machine direction (MD) >= 60% and <= 100%, elongation at maximum force machine direction (CMD) >= 2 x 10E-3 m/sec. for effective
machine direction (CMD) >= 2 x 10E-3 m/sec. for effective erosion protection in hydraulic structure/river training works including local handling, placing in position, providing machine seamed joints (with 100% polypropylene or nylon thread) or 35cm lap in dry condition or minimum 100 cm lap under water including protecting the geotextile material from UV ray and from any other damages including supply of all materials, labours, equipments etc. complete as per direction of Engineer in charge. (Geotextile delivered at site should be certified by ISO and clearly labelled with brand name and grade printed at regular intervals across the body of the fabric).
40-500-40 | Mass =>400gm/m2, thickness (Under 2kpa pressure) =3.00mm, EoS<=0.08mm, strip tensile strength =>23kn/m, grab strength =>1500N, CBR puncture resistance = 3800N. | 1890.68 | Sqm | 250.131 | 472917.679
20. 40-270 | Labour charge for protective works in laying CC blocks of different sizes including preparation of base, watering and ramming of base etc. complete as per direction of Engineer in charge.
40-270-10 | Within 200 m | 791.11 | cum | 1395.031 | 1103622.974
21. 04-600 | Providing cork sheet / polysterene sheet in expansion joints of concrete works including supply of all materials etc. complete as per direction of Engineer in charge.
04-600-10 | 25 mm thick. | 119.85 | sqm | 494.811 | 59303.098
22. 76-170 | M.S work or in plates angles channels flat bars tees etc, including fabricating machining cutting, bending welding forging drilling reverting embedding anchor bars, staging and fitting, fixing local handling etc. complete with energy consumption and supply of labours including the cost of materials as per design specification and direction of E/C. | 4904.99 | kg | 161.491 | 792111.74
23. 40-550 | Supplying and laying sand as filter layers as per specific size ranges and gradation including preparation of surface, compacting in layer etc. complete with supply of all materials and as per direction of Engineer in charge.
40-550-10 | FM : 2.0 to 2.5 | 52.29 | cum | 2661.831 | 139187.143
40-550-20 | FM : 1.5 to 2.0 | 810.03 | cum | 2146.711 | 1738900.311
40-550-30 | FM : 1.0 to 1.5 | 1097.08 | cum | 1389.171 | 1524031.721
24. 16-540 | Supplying and filling sand in foundation of hydraulic structures, buildings and in protective works with selected sand, in 150mm thick layer, including levelling, dressing, ramming, watering etc. complete (compacted to 50% relative density by manual labour using mallet/ vibro compactor) as per direction of Engineer in charge.
16-540-10 | sand of FM>=1.00 | 3251.51 | cum | 800.001 | 2601211.252
16-540-20 | sand of FM>=1.50 | 0 | cum | 1763.861 | 0
25. 16-470 | Earth work by manual labor in all kinds of soil in removing cross bundh/ ring bundh, including all leads and lifts complete and placing the spoils to a safe distance, (minimum 15m apart from the bank) as per direction of Engineer in charge.
|  | 5768.25 | cum | 198.841 | 1146964.598
26. 16-130 | Earth work by manual labour in re-sectioning of embankment/ canal bank/ river slopes/ road/ compound etc. manually compacted by 7.0 kg iron rammer to avoid any air pocket in clayey soil (minimum 30% clay, 0-40% silt and 0-30% sand) within the initial lead of 30m and all lifts including throwing the spoils to profile in layers not exceeding 150mm thickness with clod breaking to a maximum size of 100mm, removing roots & stumps of trees of girth upto 200mm from the ground, benching the side slopes, stripping/ ploughing the base of embankment and borrow pit areas, dug bailing, bail out of water, rough dressing including 150mm cambering at the centre of the crest (where necessary) etc. complete as per direction of Engineer in charge.
16-130-40 | 0 m to 6 m height. | 6958.29 | cum | 308.691 | 2147961.498
27. 16-240 | Earth work by Mechanical Excavator (Long Boon) in constructing/re-sectioning of embankment/canal bank/road etc. compacted to 85%/90% maximum dry density at optimum moisture content, with reference to laboratory density test AAHSTO modified hammer, with clayey soil(minm. 30% clay, 0-40% silt, 0-30% sand) within the initial lead of 30m and all lifts including throwing the spoils to profiles in layers not exceeding 230mm in thickness with clod breaking to a maximum size of 100mm, benching the side slopes, removing roots and stumps of trees of girth up to 200mm from the ground, stripping/ploughing the base of embankment and borrow pit area, dug bailing, rough dressing including 150mm cambering at the centre of crest etc. complete, including maintenance of the same for 6 months after completion, (compaction will be done by the contractor with approved equipment, including all ancillary charges for compaction and testing) as per direction of Engineer in charge. | [5 empty] | Total Earth= | 25116.3
16-240-20 | Embankment: By Mech. Equipment; ht: 4 to 6m & above; 85% comp. | 16236.01 | cum | 183.171 | 2973966.188
28. 16-160 | Extra rate for every additional lead of 15m or part thereof beyound the initial lead of 30m up to a maximum of 19 leads (3m neglected) for all kinds of earth work.
| 2 Nos Lead. | 6958.29 | cum | 59.381 | 413190.218
29. 16-180 | Royalty of specified earth taken from private land (with prior permission of the deeds Executive Engineer on production of royalty deeds with the land owner) from the area to be selected by the contractor with mutual agreement. | 24636.37 | cum | 16.971 | 418103.835
30. 48-100 | Fine dressing and close turfing of the slopes and the crest of embankment with 75mm thick, good quality durbar of charkanta sods of size 200mm x 200mm, with all leads and lifts including ramming watering until the turf grows properly, maintaining etc. complete (measurement will be given on well grown grass only). as per direction of Engineer in charge. | 9705.6 | sqm | 32.971 | 320003.338
31. 04-280 | Constructing at site, cement mortar gauge on masonry wall, including engraving in meter, decimeter and centimeter, painting and figuring with black and red water proof paint, etc. complete as per direction of Engineer in charge.
04-280-10 | 150mm x 25mm | 11.5 | sqm | 98.231 | 1129.657
32. 16-550 | Back filling in hydraulic structures and slope building in protective works including all leads and lifts with selected local soil in layer of 150mm including watering, ramming etc. complete compacted to 20% relative density by compactor or any other suitable method as per direction of Engineer in charge.
|  | 5410.41 | cum | 213.251 | 1153775.343
33. Analysis Rate | Vertical Lift Gate Size: 1.580 m x 1.875 m Manufacturing, supplying, installation and fitting fixing of mechanically operated Vertical Lift Gate shutter having 10mm thick M.S skin plate; with minimum 100mm x 100mm x 10mm thick vertical top bottom horizontal and vertical beam fitted with P-type neoprene rubber seal fixing by 10mmx50mm stainless steel counter sunk bolt with stainless steel strip 50mmx6mm as clamp; drilled spaces @ 150mm c/c stem attachment with proper thread, nut, cotter pin and washer as per approved design including the cost of all materials of proper grade & brand new with a prime coat of redoxide where necessary as per specification and direction of Engineer in charge. | 2 | Each | 134158.751 | 268317.502
34. Analysis Rate | Flap Gate Size: 2.150m x 1.950m Manufacturing, supplying, installation and fitting fixing of Flap Gate shutter having 10mm thick M.S skin plate; with minimum 100mm x 100mm x 10mm thick top bottom horizontal and vertical beam fitted with P-type neoprene rubber seal fixing by 8mmx50mm stainless steel counter sunk bolt with stainless steel strip 30mmx6mm as clamp; drilled spaces @ 150mm c/c hinged with wall bracket by link arm of 20 mm thick M.S. & 4 nos Hinge bolt with double nut Ø 50 x 225mm, Cotter pin- (Ø 8 x 125) and washer as per approved design including the cost of all materials of proper grade & brand new with a prime coat of redoxide where necessary as per specification and direction of Engineer in charge. | 2 | Each | 144043.174 | 288086.348
35. Analysis Rate | Manufacturing, supplying, fitting fixing and installation M.S. Slanting frame with 16mm M.S. Plate. Ø 16mm Anchore bolt as per improved drawing including fabrication, riveting, welding, fixing and cost of all materials etc. Complete with a prime cost of red-oxide where necessary as per director of engineer in charge. | 4 | Each | 73957.145 | 295828.58
36. 72-540 | Epoxy painting on lift gate Epoxy paint 2 coats of approved colour and specification over a priming coat to gate, hoisting device and embedded metal parts including scraping out rust and old paint with chisel, scraper, steel wire brush & emery paper etc. complete in all respect including the cost of all materials as per direction of E/C. | 55.6 |  | 428.812 | 23841.947
| Expoxy paint on M.S gate : 2 coats over priming | Sqm | sqm
37. 76-190 | Manufacturing, supplying and Installation of Padestal type lifting device for slide gate with 63mm dia threaded steel shaft, 146mm outer dia bronze nut, thrust bearing, steel bevel gear etc. as per approved design including supply of all components, labours with a prime coat of redoxide where necessary etc. complete including the cost of all materials as per specification and direction of E/C. | 2 | Each | 110000.001 | 220000.002
38. Analysis Rate | Manufacturing, Supplying, fitting fixing and Installation of Flap gate hoisting device by Ø 100m G.I. Pipe with base plate foundation, welding, fixing and cost of all materials etc. Complete as per director of Engineer in charge. | 2 | Each | 100000.001 | 200000.002
39. 72-130 | Synthetic enamel painting to steel surfaces/ gates/ hoists etc. with paint of approved color (2 coats over a coat of priming including preoaration of the surface with steel brush, emery paper and cleaning etc. Complete including the cost of all materials as per direction of Engineer in charge.
72-130-10 | Synthetic enamel painting on steel : 2 Coats Over Priming | 17.68 | sqm | 254.011 | 4490.914
Sub-Total (A) = |  |  |  |  | 68025001.104
Non-tender Item
40. 40-490 | [For Emergency work] Supplying , filling and placing of Geo-Tube, making with standard geo-textile (Polyestar Fabric, geo-textile thickness ≥ 4.00 mm, mass ≥ 550 gm/m² ) and sewing in accordance with the detailed drawing and Technical Specifications included in the Tender Document and Schedule of Rates of BWDB, filling hydraulically with locally available sand free from silt and clay, sewing along one transverse (top) side after filling, including carrying, placing in possition in the site as per approved design, cost of all materials & equipments and its mobilization, labour, incidental charges etc. complete as per direction of Engineer in Charge.
40-490-10 | Geo Tube: Diameter= 2.5 m | 420 | m | 3721.17 | 1562891.4
41. Analysis Rate | Cost/Charge of Dewatering operation in order to lower down ground water level at least 0.60 m (zero point six zero meter) below the bottom face of the sand filling for construction of Dayer khal surface drainage outlet with boat pass under Bhola O&M Division-2, BWDB, Charfession, Bhola during the year 2021-22 to provide facility and environment for construction of the civil structural works in full as approved in the design by installation at site of at least 4 (Four) unit piezometers for bailing out sump water with appropriate facilities for the period of construction (as per requirement ) in including cost of all materials, equipment, tools, plants, labors, machines, professionals, fuel/ lubricant/ power, texes, incidental charges as may be necessary and deductible levies pursuant to the law, etc. all complete as per direction of the Engineer-in-charge. | 1 | L.S | 551292 | 551292
42. Analysis Rate | Supplying at site U-shape Plastic sheet pile of different sections made from rigid polyvinyl chloride and modified with polymer stabilizers to enhance chemical-, weather-, temperature-, impact-resistance (heat stabilizers, ultraviolet stabilizers, fillers and pigments of different section of Tensile Strength 47.10 Mpa, Bending Strength 69.30 Mpa, Bending Modulus of Elasticity 2936 Mpa Dencity 1.4 at (23/23)°C, Charpy Impact Strength 30 KJ/m², Hardness 77 Shor'aD including all taxes, freights, incidental charges etc. complete as per direction of the Engineer -in- charge.
| U-shape, Plastic sheet pile width= 400mm to 600mm: height=> 200mm, Thickness>=9.0 mm | 247.2 | sqm | 11890.33 | 2939289.576
43. Analysis Rate | Driving Plastic sheet piles of various sections and weights of any type of soil, installation by vibrator and rig with steel sheet pile guide including handling and placing in position, staging and supplying of all equipments like vibro hammer, pully, rope, bamboo, bullah etc. including correcting leaning beyond tolerance & other defects and any other incidental cost etc. complete (measurement will be taken on projected width x height) as per direction of Engineer in charge.
| upto 4.5 m depth | 240 | sqm | 1407.48 | 337795.2
44. Analysis Rate | Sealant of approved colour and specification over a flange of sheet pile to form a elastic paint film for making water proofer with chisel, scraper, steel wire brush & emery paper etc. complete in all respect including the cost of all materials as per direction of Engineer in charge. | 320 | kg | 583.21 | 186627.2
45. 72-290 | Scrapping and clearing of mosses or outside colour work or surface marks from wall and ceiling as per direction of Engineer in charge. | 26780.36 | kg | 48.09 | 1287867.512 | 48.09
46. 72-260 | Weather Coat of approved quality and colour (delivered from authorized local agent of the Manufacturer in a sealed container)on exterior surface applying as per manufacturer instructions including cleaning the surface with wire brush, provision of necessary scafolding, cleaning doors & windows, ventilators by washing including cost of water, electricity & other charges etc. complete in all respect as per direction of Engineer in charge. | 26780.36 | kg | 199.23 | 5335451.123 | 187.36
72-260-10 | Applying of Weather coats to exterior surface: 3 coats
Sub-Total (B) = |  |  |  |  | 12201214.011
Total (A+B) = |  |  |  |  | 80226215.115 | BOQ= | 61201958.4527
[6 empty] | Increase= | 19024256.6623
Kachari Khal + Boat Pass Total (A+B) = |  |  |  |  | #REF!
Tender Kachari Khal + Boat Pass Total (A+B) = |  |  |  |  | #REF!
Non- Tender Kachari Khal + Boat Pass Total (A+B) = |  |  |  |  | #REF!
(Hasan Mahmud)
Executive Engineer
Bhola O&M Division-II
BWDB, Charfession, Bhola.
(Md. Abdur Rahman)
Sub-Assiatant Engineer
Sakuchia O&M Section
BWDB, Monpura, Bhola.
(Md. Mizanur Rahman)
Sub-Divisional Engineer (A.C.)
Charfession O&M Sub-Division-I
BWDB, Charfession, Bhola.

## Appendix IB (hidden)
PROFORMA FOR APPROVAL OF ADDITIONAL DELIVERIES AND REPEAT ORDER /VARIATION ORDER/EXTRA WORK ORDER FOR WORKS/SUPPLY /CONSULTANCY SERVICES BEYOND ONGOING CONTRACT.
1. | (i) Zone |  | : | Southern Zone, Barishal.
| (ii) Circle/Directorate |  | : | Bhola O&M Circle, Bhola.
| (iii) Division |  | : | Bhola O&M Division II, Charfession, Bhola.
2. | Name of Project |  | : | Protection from Bokshi Launchghat to Baburhat Launchghat area from the Erosion of Tentulia River including Dredging Work and Flood Protection in Kukri-Mukri Island at Charfession Upazila under Bhola District (Inter item cost adjustment)
3. | Name of works/Supply/Services |  | : | Dredging Work of Tentulia River from Ch. Km. 151.100 to Km. 152.000 & km. 153.000 to km. 158.600 total length 6.500 km in c/w ''Protection from Bokshi Launchghat to Baburhat Launchghat area from the Erosion of Tentulia River including Dredging Work and Flood Protection in Kukri-Mukri Island at Charfession Upazila under Bhola District''during the year 2020-2021. (Package No DTR-02-L1/2020-2021)
4. | Source of Fund |  | : | GOB
5. | Approved Estimated Cost |  | : | 91,69,96,731.778
6. | Name of Contractor/Firm |  | : | Orient Trading & Builders Ltd-National Development Engineers Ltd. (JV) Address: House No.#20, Road # 44, Gulshan-02, Dhaka, Bangladesh. Bangladesh
7. | Contract value of Works/Supply/Services |  | : | 89,63,64,305.313
8. | Percentage of Above/Below/as per |  | : | 2.25% Less than the official cost.
9. | Original Contract Approving Authority |  | : | Honorable State Minister, MoWR.
10. | (i) Commencement Date as per contract |  | : | 09/03/2022.
| (ii) Intended Completion Date as per contract |  | : | 30/04/2022 (Work in Progress)
11. | Physical Progress (upto date in percentage) |  | : | 45%
12. | Financial Progress (amount paid to date) |  | : | 18,63,89,787.88 (2nd R/A, Dated:26-08-2021)
13. | Variations
Rate of Non-tendered Items
Sl. No./Item Code |  | Brief Description of Non-Tendered Items |  |  |  | Proposed
[6 empty] | Unit | Rate (BDT)
01. 04-180 |  | Site preparation by manually removing all miscellaneous objectional materials from entire site and removing soil upto 15cm depth including uprooting stumps, jungle clearing, levelling dressing etc. complete as per direction of Engineer in charge. |  |  |  | sqm | 38.13
02. Ref: As Per Work order No BREB/PD/REUP/BD-P63/WORKS/PK4-WD-13/0089 (Patuakhali PBS) |  | Compensation of crops,trees,kancha structures etc. along the right of way (ROW) of 10ft. On each side of the centerline of electric cable/conductor. All crops, tress, kancha structures etc. to be handed over to the owner. |  |  |  | L.S | 110000
03. 16-100 |  | Erection of bamboo profile with full bamboo posts and pegs not less than 60mm in diameter and coir strings etc. complete as per direction of Engineer in charge. |  |  |  | nos | 367.41
04. 16-500 |  | Earth work in excavation of foundation trenches in all kinds of soils including levelling, dressing, placing, removal of spoils to a safe distance with initial lead of 30m and lift of 1.5m as per direction of Engineer in charge. |  |  |  | Cum | 238.12
05. Ref: As Per Work order No BREB/PD/REUP/BD-P63/WORKS/PK4-WD-13/0089 (Patuakhali PBS) |  | Hire charge of Burge capacity 200 metric ton with truck for 24 hours (38 working days) (including fuel charge, supervisor and driver cost) |  |  |  | days | 95000
06. Ref: As Per Work order No 11-BA-1-20110105-168 (Barisal PBS-1)) |  | Nevigable arrangment (such as freight of traller, control of Nevigable craff etc) at the time of laying sub-marine cable. |  |  |  | L.S | 74250
07. E-40-740 |  | Welding Arc...... |  |  |  | pnt | 300
08. Ref: As Per Work order No BREB/BDP-2-DL-59-BA-01-01/2017-18 (Barisal PBS-1) |  | Diver for installation placement of 33 kv submarine cable (Copper insulated 185/240 sq. mm). As per water area shown in respective drawing. (1 CKT-km means 1 no. of 1 km cable.) |  |  |  | CKT-Km | 22400
09. Ref: As Per Work order No BREB/BDP-2-DL-59-BA-01-01/2017-18 (Barisal PBS-1) |  | Transshipment and laying of submarine cable In the river as per direction of the Engineer in- charge. (Copper insulated 185/240 sq. mm) (1 CKT-km means 1 no. of 1 km cable.) |  |  |  | CKT-Km | 98000
10. Ref: As Per Work order No 11-BA-1-20110105-168 (Barisal PBS-1) |  | Lifting & Laying of submarine cable through cable trench and as per direction of the Engineer in-charge. (1 CKT-km means 1 no. of 1 km cable). |  |  |  | L.S | 23375
11. E-70-073 |  | Anchor & wire rope , mobilize ,demobilize...8hrs |  |  |  | days | 3432
12. M.R |  | Drum Type Voya |  |  |  | nos | 1700
13. E-20-557 |  | Rope, Nylon: 6mm dia..... |  |  |  | Kg | 504
14. M.R |  | Security Single Light |  |  |  | nos | 860
15. M.R |  | Floater |  |  |  | nos | 300
16. M.R |  | Flag |  |  |  | nos | 220
17. E-80-377 |  | Security Guard |  |  |  | nos | 564
18. Ref: As Per Work order No BREB/PD/REUP/BD-P63/WORKS/PK4-WD-13/0089 (Patuakhali PBS) |  | Fitting and fixing of heat shrink join kit complete with DIN Ferrules, cable preparation kits at the points of joining of cables for 33 kv, 4 (1-core) XLPE insulated & layer of extruded semi-conducting component of 1mm. Thickness (min) with the conductor and insulation material. |  |  |  | nos | 10000
19. 16-710 |  | Ditch filling by Carried Earth (by truck/boat or any other means) supplied at contractor's own cost (including royalty) manually compacted by 7.0 kg iron rammer to avoid any air pocket beyond the initial lead of 300m and all lifts including throwing the spoils to profile in layers with clod breaking to a maximum size of 100mm, removing roots & stumps of trees of girth upto 200mm from the ground etc. complete as per direction of Engineer in charge.
16-710-10 |  | 300 m to 1.00 km. |  |  |  | Cum | 200
20. Ref: As Per Work order No 11-BA-1-20110105-168 (Barisal PBS-1) |  | Testing & commissioning |  |  |  | L.S | 21597.01
14. | Justification for proposed rate: | মুজিব শতবর্ষ উপলক্ষ্যে ‘ঘরে ঘরে বিদ্যু’ সংযোগ কার্যক্রমের অংশ হিসেবে ভোলা জেলার চরফ্যাশন উপজেলা হতে এর মুজিব নগর ইউনিয়ন, চর বোরহান, চর বিশ্বাস হয়ে দেশের একমাত্র অবিদ্যুতায়িত উপজেলা পটুয়াখালী জেলার রাঙ্গাবালীতে নিরবিচ্ছিন্ন বিদ্যুৎ সরবরাহের লক্ষ্যে বাংলাদেশ পল্লী বিদ্যুতায়ন বোর্ড, ভোলা কর্তৃক বকসী লঞ্চঘাট হতে মুজিব নগর ইউনিয়নের বাংলাবাজার পর্যন্ত তেঁতুলিয়া নদীর তলদেশ দিয়ে ৪টি ৩৩ কেভি সাবমেরিন ক্যাবল (প্রতিটি ৪.০০০ কিঃমিঃ দৈর্ঘ্য বিশিষ্ট) স্থাপন করা হয়েছে। যা ড্রেজিং এর জন্য নির্ধারিত এ্যালাইনমেণ্ট কে তীর্যকভাবে ক্রস করে দুই তীরে সংযোগ স্থাপন করে। এখানে উল্লেখ্য যে, উক্ত সাব-মেরিন ক্যাবল ড্রেজিং কাজ শুরু করার পূর্বেই অত্র দপ্তরকে অবহিত না করে BIWTA এর অনুমতি সাপেক্ষে BREB কর্তৃক সাব-মেরিন ক্যাবল গুলি নদীর তলদেশে স্থাপন করা হয়। নদীর তলদেশে সাব-মেরিন ক্যাবল রেখে ড্রেজিং কাজ বাস্তবায়ন ও ক্যাবলের সার্বিক নিরাপত্তার স্বার্থে ক্যাবলের উভয়পার্শ্বে কমপক্ষে ৯০০ মিটার অংশে ড্রেজিং করা সম্ভব হবে না (সংযুক্তি-২; BREB এর চিঠি)। কিন্তু ১১.১০০ কিঃমিঃ ড্রেজিং কাজের মাঝামাঝি ৯০০ মিটার অংশ বাদ রেখে ড্রেজিং কাজ করা হলে উক্ত কাজের কোন সুফলই পাওয়া যাবে না। সাবমেরিন ক্যাবলগুলি (৪টি ৩৩ কেভি ও প্রতিটি ৪.০০০ কিঃমিঃ দৈর্ঘ্য বিশিষ্ট) নদী থেকে উত্তোলন, ড্রেজিং কাজের ৯০০ মিটার অংশ সম্পন্ন হওয়া পর্যন্ত নদীর পূর্ব প্রান্তে ৪টি ভাসমান বার্জের উপর সংরক্ষণ এবং পরবর্তীতে পুনঃস্থাপন ব্যয় সাপেক্ষে ব্যাপার। বরাদ্দ সংস্থান না থাকায় BREB কর্তৃক উক্ত ব্যয় নির্বাহ সম্ভব হবে না মর্মে অত্র দপ্তরকে অবহিত করেন (সংযুক্তি-৩; BREB এর চিঠি)। ক্যাবলের সার্বক নিরাপত্তা এবং ড্রেজিং কাজটির সুষ্ঠু বাস্তবায়নের নিমিত্ত নদীর তলদেশে স্থাপিত সাব-মেরিন ক্যাবল বাংলাদেশ পল্লী বিদ্যুতায়ন বোর্ড এর সাথে সমন্বয়পূর্বক উত্তোলন ও ড্রেজিং কাজ বাস্তবায়ন পরবর্তী পুনঃস্থাপনের অনুমতির জন্য নোটশিটের মাধ্যমে নোটশিটের মাধ্যমে আবেদন করা এবং মহাপরিচালক, বাপাউবো কর্তৃক কাজ বাস্তবায়নের অনুমতি প্রদান করা হয় (সংযুক্তি-৪; নোটশিটের কপি)। ফলশুতিতে সাব-মেরিন ক্যাবল উত্তোলনপূর্বক ৪টি বার্জের উপর ভাসমান রেখে উক্ত ৯০০ মিটার অংশে ড্রেজিং কাজ বাস্তবায়ন করা হয় ( সংযুক্তি-৫; স্থিরচিত্র) এবং ড্রেজিং পরবর্তী ক্যাবল গুলি পুনঃস্থাপনের মাধ্যমে বিদ্যু সঞ্চালন লাইন পুনঃসংযোগ করা হয়। ফলে ক্যাবল উত্তোলন এবং পুনঃস্থাপন কাজে চুক্তি বর্হিভূত নতুন দফার উদ্ভব হয়। উক্ত দফার মধ্যে সামঞ্জস্য আইটেম সমূহ বাপাউবো'র ভোলা পওর সার্কেল, ভোলা এর অনুমোদিত রেইট শিডিউল আলোকে এবং শিডিউল বর্হিভুত দফাসমূহ বাংলাদেশ পল্লী বিদ্যুতায়ন বোর্ড কর্তৃক সাব-মেরিন ক্যাবল স্থাপনের নিমিত্ত অনুমোদিত প্রাক্কলন অনুসরণপূর্বক (সংযুক্তি-৪; BREB এর অনুমোদিত প্রাক্কলন ও বাপাউবো’র রেইট শিডিউল) কাজ বাস্তবায়নের জন্য সংশ্লিষ্ট ঠিকাদারকে অনুরোধ করা হলে সম্মতি জ্ঞাপন করেন (সংযক্তি-৫; ঠিকাদারের অঙ্গীকার নামা)।
|  | (Hasan Mahmud) Executive Engineer Bhola O&M Division II BWDB, Charfession, Bhola. |  |  | (Md. Mizanur Rahman) Sub-Divisional Engineer Charfession O&M Sub-Division-I BWDB, Charfession, Bhola.
15. | Recommendation of Higher Officials:
16. | Approval of rate by the Director General: